## Slide 3
ECG signal processing
Final exam presentation
Student: Do Tien Dat - 20200132

## Slide 4: 1. Data exploration:
Type of signal: ECG lead i
Patient:
  Female, 81 yrs
  Diagnose: Myocardial infarction
Data:
  Sample rate:
  Record length:
  Noise voltage: max
  Input voltage:
  Resolution: 16-bit with
  ( units per )
  ADC range:
Data source:
  PTB Diagnosis ECG Database

## Slide 5: 1. Data exploration:
ECG time-record

## Slide 6: 1. Data exploration:
Distorted P-wave
50Hz noise
Base-line noise, maybe?

## Slide 7: 2. Processing methods:
Fourier Transform:
Convert time-domain to frequency-domain
Mechanism:
  Take a piece of signal, duplicate it into infinite-time harmonic
  Calculate response of each frequency component:
Characteristics:
  Range of observable frequencies:
  (for bio-signal, generally observe range )
  Depends on length of data that take into transform
or
(complex number form)

## Slide 8: 2. Processing methods:
2. Window technique:
Mechanism:
  Convolute time signal with a kernel (generally has a bell shape)
Characteristics:
  Low-pass filter
Effect:
  Remove high frequency components
  Smoothing
  Reduce sample size

## Slide 9: 2. Processing methods:
3. Filtering:
Mechanism:
  Observe signal in a specific frequency range
  Filter out components that is considered as ‘noise’
Types of filter:
  Low pass
  High pass
  Notch
  Bandpass
Several filters:
  Butterworth
  Windowed
Transfer function:
Matlab code:

## Slide 10: 2. Processing methods:
3. Filtering:
Butterworth filter order:
Best order (n=4)
-3dB
Unwanted ripple

## Slide 11: 3. Data interpretation:
Data specifications:
Sample rate: => Observable frequency range:
ECG shape:
  P-wave
  QRS
  T-wave
Signal to noise ratio (SNR):
Noise:
Signal: (P-wave)
Filter design:
Low-pass filter:
  Remove high-frequency noise
  (above ECG range, typically 150Hz)
High-pass filter:
  Remove base-line noise
Notch-filter:
  Filter out power-line signal

## Slide 12: 3. 1. Base-line noise:
Determine and calculate specs for high-pass filter to remove base-line noise
Use Window function to estimate base-line noise

## Slide 13: 3. 1. Base-line noise:
Specs for high-pass filter to remove base-line noise:
  ,
  Other frequencies: linear gain,
Calculate Butterworth filter order:
High pass filter for baseline response

## Slide 14: 3.2. 50Hz power line noise:
Notch filter specs:
Gain =
Bandwidth: as narrow as possible
-120dB, not bad
50Hz notch filter response

## Slide 15: 4. Filtering results:
Filtered vs Original signal

## Slide 16: 4. Filtering results:
Filtered vs Original spectrum

## Slide 17: 4. Filtering results:
Different bandwidth range
Lost information
P-wave distortion

## Slide 18: 4. Filtering results:
Different bandwidth range

## Slide 23
THANK YOU !